## Slide 1: Batch Processing Code Philosophy
Purpose: Allow for fitting of spectra over a specified period with multiple ctl files
  Batch processing should not for testing (sfit4Layer0)
Modularity
  Code is separated into modules to allow for the removal, addition or modification of components
Documentation
  Documentation exists through out the code
  Documentation on the sfit4 wiki site
Easily accessible
  Written in python which is freely available (no licensing fees)

## Slide 2: SFIT4 Processing Steps
Pre-processing
  Extract spectral lines from HITRAN
  Create a spectral database file
  Convert OPUS data to bnr type
Processing
  Create directory structure
  Generate necessary input files for running pspec, refmaker, and sfit4
  Execute pspec, refmaker, and sfit4
Post-processing
  Error analysis
  Plotting
  Conversion to HDF files
Batch Processing (sfit4Layer1)

## Slide 3: Drivers for Batch Processing
Batch processing input file
  Specify station and time period
  Specify directories (Input/Output, ILS,executables,WACCM)
  Point to files (ctl files, spectral database files, station layers file)
  Set logical flags (run pspec, refmaker, sfit4)
Ctl file (sfit4.ctl)
  Reads target gas
  Determine spectral range
Spectral database file (created by ckopus.f90)
  Contains information on each observation
  Necessary information:
    Observation Date, timestamp, low and high wave number, Lat/Lon/Altitude, ROE

## Slide 4
Input and Output Flow for Pre-Processing
Inputs
Processes
Outputs
isotope.input
OPUS Files
Geometric calculations
Constructs spectral db file
Converts OPUS raw data to .bnr format
Reduced Spectral File
X_Y.hbin
ckopus.c
.bnr Files
Timestamp
Spectral DB
sfitLayer0.py (slide 5)
Extract relevant spectral lines from HITRAN
hbin.f90
sfit4.ctl
hbin.input
HITRAN DB

## Slide 5
Model Meteorological data
refmaker.input
Local Meteorological Data
VMR Profile DB
Input and Output flow for Core Processing
Inputs
Processes
Outputs
Merge meteorological data
refmaker
Prepare ascii spectral file for sfit4 input (t15asc)
pspec.f90
pspec.input
BNR Files
Spectral fit
sfit4.f90
T15acs
File
reference.prf
File
sfit4.dtl
State Vector
K, Kb, Matrices
Fitted Spectra
Optional Output
Other Outputs
sfit4.ctl
Necessary Files:
sfit4.ctl
station.layers
X_Y.bin
Reference.prf
Optional Files:
Ils.dat
sainv.input
isotope.input

## Slide 6
Python Layering
Inputs
Processes
Outputs
Merge meteorological data
refmaker
T15acs
File
reference.prf
File
sfitLayer1.py (slide 4)
Spectral fit
sfit4.f90
sfitLayer0.py (slide 5)
Prepare ascii spectral file for sfit4 input (t15asc)
pspec.f90
sfitLayer0.py (slide 5)

## Slide 7
sfit4Layer1.py
Read Layer1 Input File
Layer1 Input File
Determine
Station location
Date range of interest
List of .ctl files
Spectral DB File
Loop through .ctl files
Create list of primary retrieval gases
Determine spectral region bounds
Spectral DB File
sfit4.ctl Files
Read Spectral DB File
Filter spectral DB data on:
Within date range (from Layer 1 input file)?
Within spectral bounds (from .ctl file)?
Loop filtered spectral DB lines
Does input file structure exist
Does output file structure exist
Create folder structure
No
Yes
Create pspec.input file, run pspec & create t15asc.4
Create refmake.input, run refmaker & create reference.prf file
Run sfit4Layer0.py
sfit4.ctl
X_Y.hbin
station.layers
Write output to correct folder
No
Yes
Continue processing spectral DB lines for one .ctl file
Continue processing .ctl files
Log file captures errors/messages throughout process

## Slide 8
sfit4Layer0.py
Run hbin
Reduced Spectral File
Log file captures errors/messages throughout process
Run pspec
Run sfit4
Input Files
Input Files
Input Files
T15asc File
Output Files
sfit4Layer0.py is process independent. It can run hbin, pspec, or sfit4 independently. It does not read or generate input files. Inputs for sfit4Layer0.py are via command line

## Slide 9
<InputBaseDir>
<LOC>
<YYYYMMDD>
<LOC>
<YYYYMMDD>
<OutputBaseDir>
Input Data
OPUS files
Spectral DB file
Isotope file
etc
Output Data
Copy of ctl file
T15asc
Station.layers
Detail file
State Vector file
K.Out file
Pbp file
<GAS>
<TimeStamp>
<Version>
Input Directory Structure
Output Directory Structure
<InputBaseDir> : Base directory for input file structure
<OutputBaseDir> : Base directory for output file structure (can be same as <InputBaseDir>
<LOC> : Three letter site location abbreviation
<YYYYMMDD> : Year, month, day of observation
<GAS> : Primary gas of interest for retrieval
<TimeStamp> : UTC time stamp of observation HHMMSS.SS
<Version> : User defined description of ctl file used for processing

## Slide 10: Future Work
All multiple retrievals for any gas
Incorporate NCEP data in a priori
Add real-time diagnostics of convergence, possible plotting

## Slide 11: How to Obtain Processing Code
The code will be available on the SFIT4 wiki site:
  https://wiki.ucar.edu/display/sfit4/
  Email will be sent out when access to wiki is available
Need python version 2.6 or 2.7 installed
Anyone is free to use it; however, we ask if you find bugs or have improvements you communicate those so that they can be fix/incorporated in the next version