Oct  9 03:10:33 localhost kernel: [32409.582510] usb 1-1.1: USB disconnect, device number 10

Oct  9 03:10:33 localhost kernel: [32409.583204] smsc95xx 1-1.1:1.0 eth0: unregister 'smsc95xx' usb-3f980000.usb-1.1, smsc95xx USB 2.0 Ethernet

Oct  9 03:10:33 localhost kernel: [32409.583409] smsc95xx 1-1.1:1.0 eth0: hardware isn't capable of remote wakeup

Oct  9 03:10:34 localhost kernel: [32409.623623] usb 1-1.2: USB disconnect, device number 11

Oct  9 03:10:34 localhost kernel: [32409.626965] ftdi_sio ttyUSB0: FTDI USB Serial Device converter now disconnected from ttyUSB0

Oct  9 03:10:34 localhost kernel: [32409.627074] ftdi_sio 1-1.2:1.0: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.630034] ftdi_sio ttyUSB1: FTDI USB Serial Device converter now disconnected from ttyUSB1

Oct  9 03:10:34 localhost kernel: [32409.630170] ftdi_sio 1-1.2:1.1: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.638931] ftdi_sio ttyUSB2: FTDI USB Serial Device converter now disconnected from ttyUSB2

Oct  9 03:10:34 localhost kernel: [32409.639012] ftdi_sio 1-1.2:1.2: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.640237] ftdi_sio ttyUSB3: FTDI USB Serial Device converter now disconnected from ttyUSB3

Oct  9 03:10:34 localhost kernel: [32409.640313] ftdi_sio 1-1.2:1.3: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.641229] usb 1-1.3: USB disconnect, device number 12

Oct  9 03:10:34 localhost kernel: [32409.642826] ftdi_sio ttyUSB4: FTDI USB Serial Device converter now disconnected from ttyUSB4

Oct  9 03:10:34 localhost kernel: [32409.643350] ftdi_sio 1-1.3:1.0: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.644601] ftdi_sio ttyUSB5: FTDI USB Serial Device converter now disconnected from ttyUSB5

Oct  9 03:10:34 localhost kernel: [32409.644685] ftdi_sio 1-1.3:1.1: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.646130] ftdi_sio ttyUSB6: FTDI USB Serial Device converter now disconnected from ttyUSB6

Oct  9 03:10:34 localhost kernel: [32409.646240] ftdi_sio 1-1.3:1.2: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.647555] ftdi_sio ttyUSB7: FTDI USB Serial Device converter now disconnected from ttyUSB7

Oct  9 03:10:34 localhost kernel: [32409.647654] ftdi_sio 1-1.3:1.3: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.648692] usb 1-1.4: USB disconnect, device number 13

Oct  9 03:10:34 localhost kernel: [32409.649704] ftdi_sio ttyUSB8: FTDI USB Serial Device converter now disconnected from ttyUSB8

Oct  9 03:10:34 localhost kernel: [32409.649811] ftdi_sio 1-1.4:1.0: device disconnected

Oct  9 03:10:34 localhost kernel: [32409.650662] usb 1-1.5: USB disconnect, device number 14

Oct  9 03:10:34 localhost kernel: [32409.650683] usb 1-1.5.4: USB disconnect, device number 16

Oct  9 03:10:34 localhost kernel: [32409.654133] EXT4-fs warning (device sda1): ext4_end_bio:314: I/O error -5 writing to inode 260626 (offset 0 size 0 starting block 147049)

--More--(31%)

potential fixes:

- edit /boot/config.txt and add the line “max_usb_current=1”.  Reference = https://github.com/raspberrypi/firmware/issues/919

  - limits current draw on the USB to 1Amp

  - Haven’t tried it.

- edit /boot/cmdline and add the line “dwc_otg.speed=1”.  Reference = https://raspberrypi.stackexchange.com/questions/1886/what-kernel-parameters-are-available-for-fixing-usb-problems

  - reduces USB to 12MBPS, and lowers power

  - tried this on 10/10/2018 @ 12:18PM local.  If it works, we’ll

- edit /boot/cmdline and add the line “dwc_otg.lpm_enable=1”.   Reference = https://raspberrypi.stackexchange.com/questions/1886/what-kernel-parameters-are-available-for-fixing-usb-problems

  - not sure, but looks like this my be another way to limit USB current.